## Complete feedback
Market participant | Topic | Question/remark | Final response
Eesti Energia | Do you have any comments/remarks on the Baltic aFRR product characteristics provided in Chapter III? | As the Baltic TSOs have postponed the deadline to implement and make PICASSO operational until Q4 2024, it is of utmost importance that the TSOs will provide very clear and detailed justifications on all such aspects of the standard product, which differ from the standard product and procedures of a regular PICASSO platform. It is very important because otherwise the providers of standard product on the Baltic market are disadvantaged and put into unequal position, compared to the aFRR service providers of the rest of the European Union. (i) For example, the TSOs propose that no linking of the bids is allowed. We would like to point out that it is very important to enable linking of bids because linking helps to avoid unnecessary activations, unbalance and ramp-ups and -downs among bids of the same entity. Linking of bids should be allowed both between consequent 15-minute periods as well as within single 15-minute periods. We stress that all parameters of an aFRR standard product should be the same for all service providers on the PICASSO platform. (ii) Concerning exchange of information– all xml schemes for market messages (bids and clearing) to be adopted in the Baltics must be identical and match exactly the same identical criteria without any exceptions or deviations. This is very important to avoid any distortions or barriers in the markets. | Baltic TSOs have communicated in 2020 with the derogation of 15 minutes imbalance settelment period that PICASSO shall be implemented once 15 min ISP is implemented by end of 2024. Baltic TSOs foresee start the aFRP in Baltic LFC areas from the beginning of 2025 to test and prepare for the Baltic power system synchronisation wtih CESA. Baltic TSOs plan to use standard aFRR products. (i) Since complex or linked energy bids are not supported by PICASSO platform- with its 4s optimization cycles and fast changing balancing energy demands, it's not feasible to link energy bids across different MTUs. With PICASSO not supporting linked bids then Baltic TSOs have no reason to deviate from the of the platforms approach. Also, the obligations of BSPs offering aFRR product do not start before the respective MTU or extend into the next MTU (as opposed to mFRR products). (ii) All Baltic TSOs xml messages for aFRR bids and clearing are based on European message standards and best practices, namely ReserveBid_MarketDocumentand and ReserveAllocationResult_MarketDocument."
Eesti Energia | Do you have any comments/remarks on the Baltic aFRR product characteristics provided in Chapter III? | In the Table 1. Baltic aFRR standard product characteristics the „Preparation Period“ is currently set at „0 minutes“. We propose to Baltic TSOs to adhere to the standard product characteristics as defined by the Commission Regulation 2017/1485 Article 158 1(d); as well as in Article 7 of All TSOs’ proposal for the implementation framework for a European platform for the exchange of balancing energy from frequency restoration reserves with automatic activation of 18 December 2018; and also previously as defined in the Baltic TSOs’ The prequalification process and technical requirements of Automatic Frequency Restoration Reserves (aFRR) Service (Page 5 Chapter 3.3), stating that an FRR providing unit or FRR providing group for automatic FRR shall have an automatic FRR activation delay not exceeding 30 seconds. We would like to stress that „Baltic aFRR energy market” concept document, technical requirements and service prequalification documentation must not contradict each other, even if depth of detail and scope is different. | In this document, the 30 second activation delay is not considered as preparation period but as maximum allowed delay between receiveing the signal and starting activations of aFRR resource. The maximum activation delay of 30s referenced in Commission Regulation 2017/1485 Article 158 1(d) applies also in the context of this document. No artificial delay may be implemented for the delivery of balancing energy, 30s is the absolute maximum timeframe in which the delivery of energy must start.
Eesti Energia | Do you have any comments/remarks to Chapter VIII: Market information and transparency? | Please see comment (A)(ii) on Chapter III concerning exchange of market information. | All Baltic TSOs xml messages for aFRR bids and clearing are based on European message standards and best practices, namely ReserveBid_MarketDocumentand and ReserveAllocationResult_MarketDocument. Final data-exchange is established between TSO-BSP.
Eesti Energia | Do you have any comments/remarks to the implementation timeline provided in Chapter IX? | Please see General comment on Chapter I. | Baltic TSOs have communicated in 2020 with the derogation of 15 minutes imbalance settelment period that PICASSO shall be implemented once 15 min ISP is implemented by end of 2024. Baltic TSOs foresee start the PICASSO operation in Baltic LFC areas from the beginning of 2025 to test and prepare for the Baltic power system synchronisation wtih CESA.
Eesti Energia | General comments | On Chapter I – please explain the reasons why the deadline to implement and make PICASSO operational has been postponed until Q4 2024. This is not acceptable. According to regulation the common deadline for implementing PICASSO was 24.07.2022. This has been correctly applied by both neighbour markets of the Baltics – Scandinavian countries and Poland. Please explain why the Baltic states have not been able to proceed with the aFRR market in a timely manner and what steps are needed to accelerate the implementation of the aFRR platform. Please also see comments on Chapter III. | Baltic TSOs have communicated in 2020 with the derogation of 15 minutes imbalance settelment period that PICASSO shall be implemented once 15 min ISP is implemented by end of 2024. Baltic TSOs foresee start the PICASSO operation in Baltic LFC areas from the beginning of 2025 to test and prepare for the Baltic power system synchronisation wtih CESA.
Eesti Energia | General comments | „Baltic aFRR energy market” concept document, technical requirements and service prequalification documentation must not contradict each other under any circumstances, even if depth of detail and scope is different. All of these documents must take into consideration real-world technical limitations and if possible, should lower threshold for different asset types to participate, while still respecting grid stability needs and aFRR service baseline requirements. | Duly noted. We agree that all mentioned documents must me clear harmonized.
Ignitis | Do you have any comments/remarks on the aFRR energy bid submission and MOL creation process described in Chapter IV? | Please consider the linking of bids. It would increase flexibility to plan and to act at the aFRR energy market for BSPs. | Since complex or linked energy bids are not supported by PICASSO platform, then Baltic TSOs will not allow linked energy bids either.
Ignitis | Do you have any comments/remarks on the aFRR bid activation process described in Chapter V? | More detailed description of the aFRR market arrangements in case of PICASSO unavailability is necessary. If the back up solution shall take place is such case, the exact procedure must be described. | After one (or all) Baltic TSO(s) become decoupled from PICASSO, then they are responsible for following aFRR processes within their LFC area using the reserves located within their area (and requesting activation of reserves from other Baltic LFC block members). The exact solution for netting ACE and requesting aFRR from other Baltic TSOs without PICASSO is being developed with the implementation of LFC controllers at each TSO.
Ignitis | Do you have any comments/remarks to Chapter VI: Cross-zonal capacity within the balancing timeframe? | According to provision no.33, BSPs shall not be penalized if they are not able to fulfill Voluntary bid obligations and provide balancing energy in accordance with the activation signal coming from TSO and only underdelivered energy shall be accounted in the imbalance settlement for BSP’s. If penalty shall apply for Mandatory bids, criteria for definition of penalty shall be described in more detailed way. The unavailability of bid must be reported in advance 5 min and the withdrawal form CML shall take place. The activation process is fully controlled by TSOs and BSPs cannot ensure the correct process of activation. Therefore, the multifunctioning of LFC controller and incorrect actions of TSOs might be reason when BSPs receive incorrect signals of activations. There is nothing mentioned about TSOs responsibilities towards BSPs. The possible deviations of requirements for provision of aFRR services could be part of this document as well. | The BSPs are responsible (both with voluntary and mandatory bids) for providing balancing energy in accordance with aFRR product specifications and setpoint sent by TSO they are conneted to. All deviations from BSPs obligations are subject to BSPs contract terms. Additional clause (point 35) for TSO responsibility in case on LFC controller malfunction was added to the document. In case of unavailability the bids status can be changed to unavailable in PICASSOs CMOL and TSOs LMOL up to real time, for mandatory bids obligations must be transferred.
Ignitis | General comments | The aFRR market suspension procedure shall be described in case when TSOs cannot run all necessary procedures for data exchange or technically perform aFRR process. | After one (or all) Baltic TSO(s) become decoupled from PICASSO, then they are responsible for following aFRR processes within their LFC area using the reserves located within their area (and requesting activation of reserves from other Baltic LFC block members). The exact solution for netting ACE and requesting aFRR from other Baltic TSOs without PICASSO is being developed with the implementation of LFC controllers at each TSO.
Confidential | Do you have any comments/remarks on the Baltic aFRR market framework described in Chapter II? | Sentence - "maintaining operational security of its control area" - repeated twice in the Chapter II. | Duly noted. The duplicate sentence shall be removed
Confidential | Do you have any comments/remarks on the aFRR energy bid submission and MOL creation process described in Chapter IV? | It is not clear how Baltic TSOs will cooperate to ensure regional aFRR activations in case of PICASSO unavailability. | After one (or all) Baltic TSO(s) become decoupled from PICASSO, then they are responsible for following aFRR processes within their LFC area using the reserves located within their area (and requesting activation of reserves from other Baltic LFC block members). The exact solution for netting ACE and requesting aFRR from other Baltic TSOs without PICASSO is being developed with the implementation of LFC controllers at each TSO.
Confidential | Do you have any comments/remarks on the aFRR bid activation process described in Chapter V? | Earlier in the concept document (38 pages) it was said that requency of this loop is yet not decided but will be within 4 to 10 seconds. We needs to check whether it's acceptable that MTU is defined for 4 seconds, and how it could impact existing and planned stations. | As per ACER Decision on the methodology for pricing balancing energy: Annex I chapter 7 "The MTU for standard aFRR balancing energy product bids (hereafter referred to as “aFRR MTU”) is equal to the optimisation cycle of the AOF of the aFRR-Platform". PICASSOs activation optimization cycle is decided to be 4s. Regarding aFRR energy offers the validity period for them is 15 minutes as discibed in the document.
Confidential | Do you have any comments/remarks to the implementation timeline provided in Chapter IX? | It will make more clarity if Chapter IX provide precise written information (with exact date) when will these Baltic aFRR energy market concept rules will enter into force. | The timetable in the aFRR energy market concept are outdated, more detailed deadlines shall be published in the updated Baltic balancing roadmap.
Confidential | General comments | It would be good and welcome if the Balancing service provider contract for the aFRR service was also added to the appendix of these rules (or with planned national T&C). It would provide more clarity about interpretation of these rules, remuneration and penalties, and other conditions related to participation to the aFRR market. | Baltic TSOs are working towards creating the national T&C for the aFRR market. Updated Baltic balancing roadmap shall include the deadline for TSOs to finalise the national T&C and shall be published in the TSOs websites
Confidential | General comments | Webinars or seminars where Baltic TSOs would explain this type of documents (or other related technical documentation concerning the provision of ancillary services) to market participants would be positively evaluated from our side. | Duly noted. Additional descriptions and webinars shall be performed on a national level.